## Slide 1: NEWAGE
Kentaro Miuchi
KOBE University
K. Nakamura(2), Y. Yamaguchi(1) , T.Hashimoto(1), R. Yakabe(1), T. Ikeda(1), R.Taishaku(1) T.Tanimori(2), K.Kubo(2), A.Takada(2), H.Nishimura(2), J.D.Parker(2), T.Mizumoto(2), Y.Mizumura(2), Y.Matsuoka(2), S.Komura(2), A.Takeda(3), H.Sekiya(3),
(1) Kobe university
(2) Kyoto university
(3) ICRR
Contents
  NEWAGE
  Kamioka RUN14 results PTEP (2015) 043F01s
  R&D status

## Slide 2: Announcemens: CYGNUS and more
JSPS “Brain circulation program” (Program for Advancing Strategic International Networks to Accelerate the Circulation of Talented Researchers)
  We can invite “young” staff researchers. Dan, Neil, James and Sven
  We can invite some more in 2015, 2016.
  We are happy to make some joint papers!

## Slide 3: NEWAGE

## Slide 4: NEWAGE
μ-PIC based TPC with electronics
3-D tracks
Proposal PLB 578 (2004) 241-246
First direction-sensitive DM limits
  PLB654 (2007) 58
Underground results
PLB686 (2010) 11, PTEP (2015) 043F01s
Phase for “low BG detector”
CYGNUS 07

## Slide 5
to
size
head-tail
gas study
energy resolution
energy threshold
diffusion
Radon
exclusion limit
20keV F 1mm 10Torr CF4
DIRECTIONALITY
BG
position resolution
gammas
neutrons
z-fiducialization
stability
quenching
DISCOVERY
NEWAGE strategy since its new ages
DRIFT
NEWAGE
Miuchi
Hashimoto
angular resolution
skymap

## Slide 6: NEWAGE detector
NEWAGE-0.3b’
Detection Volume: 31×31×41cm3
Gas: CF4 at 0.1atm (50keVee threshold)
Gas circulation system with cooled charcoal

## Slide 7
NEWAGE-0.3b’ inside view
  Detection Volume: 30×30×41cm3
GEM
- 31×32 cm2
- 8-segmented
- hole pitch : 140mm
- hole diameter: 70mm
- insulator : LCP 100mm
- gain : ~5
- made by Scienergy, Japan
m-PIC(Micro-pixel chamber)
- 31×31cm2
- pitch : 400mm
- gain : ~1000
- made by DNP, Japan
Field cage
Drift length: 41cm
PEEK + copper wires

## Slide 8
NEWAGE-0.3b’ readouts
  m-PIC is X-Y readout
  General purpose FPGA-based electronics since early 2000’s.
  Updates are always on-going
256ch connector
256ch ASD box
FPGAs
NEWAGE-0.3b’ (inside)

## Slide 9
  1500ch feedthrough
    feedthrough board
    everything is out of the vessel
    easy to maintain
    keep the gas purity
O-ring
O-ring
TPC volume
board
256ch feedthrough board

## Slide 10
TOT
(time-over-threshold)
NEWAGE-0.3b’ data
  TOT of every strip by FPGA (clock 100MHz)
  ⇒3D tracks, headtails in X,Y
  +
  Summed waveforms by FADC (100MHz) ⇒energy, headtails in Z
combined ⇒ PID, absolute z
“raw track data” sample

## Slide 11
NEWAGE-0.3b’ performance
  Energy threshold: 50keV
  Energy resolution: 20% (dominated by gain non-uniformity)
  Nuclear track detection efficiency: 40% @50keVee
  Gamma rejection 2.5E-5@50keVee
  angular resolution 40°@50keVee

## Slide 12
NEWAGE-0.3b’ : calibration
  α’sfrom 10B(n,α)7Li reaction
  10B plate stays in the TCP
  irradiated with thermalized neutrons
10B cal
  linearity check: 1.5MeV+ 5.9keV, 6MeV

## Slide 13: Event selection 1
length-cut (conventional gamma-ray cut)
energy vs length
long
short
dE/dx : nuclear (252Cf) > electron (137Cs)
track length : electron > nuclear

## Slide 14: Event selection 2
Nuclear (252Cf)：TOT-sum is proportional to energy
Electron (137Cs)：scratched track (small dE/dx)
TOT-sum-cut (new gamma-ray cut)
energy vs TOT-sum
small
large (area)

## Slide 15: Event selection 3
Diffusion (drift distance) affects roundness !
(Almost all electron events are cut)
(Remained events are BG a from m-PIC)
Roundness-cut works as “z-fiducial-cut”
roundness-cut (third cut)
  Remained 137Cs events : straight track shape
energy vs roundness
large roundness
straight (small roundness)
roundness
z vs roundness
external-trigger + DAQ-mode5
252Cf-run

## Slide 16: Efficiency
After all cut, compare to Geant4
Nuclear (252Cf neutron source)
  Efficiency : 40%@50keV
Electron (137Cs g source)
  Rejection : 2.5×10-5@50-100keV
原子核事象の検出効率
電子事象の検出効率

## Slide 17: NEWAGE Kamioka RUN14 results

## Slide 18
Energy spectrum
  Threshold : 100 => 50keV
  BG rate : 1/10@100keV
Skymap, cosq distribution
  Set limit by significant difference in 2-binned measured cosq and DM-wind simulated cosq
RUN5 (NEWAGE-0.3a)
RUN14 (NEWAGE-0.3b)
Energy spectrum
skymap
cosθ distribution
50-60keV
100-110keV
RUN14
period : 2013/7/20-8/11, 10/19-11/12
live time : 31.6 days
fiducial volume：28x24x41cm3
mass : 10.36g
exposure : 0.327 kg・days
NEWAGE underground run

## Slide 19: Direction-sensitive limit
Obtained limit : 557pb @200GeV
  (Best direction-sensitive limit)
Improved one order of magnitude from previous RUN5
red : gas, with directional analysis
blue : gas, without directional analysis
green : solid, liquid detector

## Slide 20
Galactic-plane sky-map
  Demonstration for direction sensitivity
φ
θ
μPIC
Z
Y
X
N
E
W
S
30°
Z
W
S
E
N
latitude
elevation
Lab frame
galactic coordinate
+時間情報
Detector Coordinate
equatorial coordinate
right ascension
declination
galactic longitude
galactic latitude
Notes: 30㎝角のμPIC+30㎝のdriftを使ったガスTPCです。

## Slide 21
  auto-scanning is demonstrated
  “vertical” and “horizontal” detectors would be needed
Detection efficiency in Galactic-coordinate
  Time variation of the efficiency map in the galactic coordinate
lab-coordinate
galactic coordinate
galactic longitude
galactic latitude
Notes: 30㎝角のμPIC+30㎝のdriftを使ったガスTPCです。

## Slide 22
Galactic-plane sky-map
  correlation with efficiency = consistent with isotropic
+時間情報
lab-coordinate
galactic coordinate
Notes: 30㎝角のμPIC+30㎝のdriftを使ったガスTPCです。

## Slide 23: NEWAGE R&Ds

## Slide 24
Head tail in X-Y plane by Cygnus 2013
Head tail in Z-axis <- NEW
Head/tail study
skewness
4.1σ
5.1σ
7.1σ
CYGNUS2013
for X-Y plane
Notes: 30㎝角のμPIC+30㎝のdriftを使ったガスTPCです。

## Slide 25
Z方向
Head tail in Z-axis
  skewness in FADC signal
Though discrimination is still primitive,
  irradiation is not ideal
  analysis is not optimized
We are ready to detect 3-D vector-like tracks.
analysis threshold relative to the pulse peak

## Slide 26
μPIC 3D simulations with free softwares (Takada)
  gmesh + elmer + garfiled
  For geometry designing, gas studies, electronics designing
NEWAGE with Garfield++
JINST8 (2013) C10023
Notes: 30㎝角のμPIC+30㎝のdriftを使ったガスTPCです。

## Slide 27
μPIC test with CS2 gas (planned)
  @ Occidental college
  @ Kobe (with chemistry people)
NEWAGE with CYGNUS
I’ｍ with my uPIC here.
Notes: 30㎝角のμPIC+30㎝のdriftを使ったガスTPCです。

## Slide 28: SUMMARY
μ-PIC based TPC with electronics
3-D tracks
Phase for “low BG detector”